The ESP Server
Main Application
5/17/22 Brent Roman brent@mbari.org

---
ESP Server Startup
- Determines what Ruby code files to read
  - from ESP environment variables
- Reads state files to recall any machine state
  that cannot be directly sensed
    - e.g. puck placement
- Establishes comms with ESP gateway
- Does NOT power on other microcontrollers
  - until ESP.configure
- Does NOT change position of any actuators
  - until ESP.ready!

---
ESP Server
- Start with command:
  esp	# interactive mode (attached to terminal)
  esp mission	#run mission script (attached)
  start esp mission	#run mission detached
  start esp	#wait for espclient(s) to connect
    - Only “start esp …” produces the mode.out log file
- ESP env variables must be initialized beforehand
  - per “Setting up the ESP Environment” slide
- Beware that network failures will cause crashes
  - if esp app is attached to a controlling terminal
  - use “start esp …” to avoid this!

---
ESP Operating Modes
- Determine how time advances
  - Real-Time vs Simulated Time
  - Can’t access hardware in simulated time
- Determine what gets displayed on terminal
  - quiet or quick modes display little
  - normal modes display most useful events
  - debug modes display everything
- The binary log stores all events
  - regardless of operating mode!

---
Real-Time Operating Modes
- ESPmode=real
  - Normal operation in real-time with real hardware
  - Default mode when running on ESP hardware
- ESPmode=debug
  - copious output displayed
- ESPmode=brief
  - less then usual output displayed
- ESPmode=quiet
  - only errors displayed
- ESPmode=nolog
  - nothing displayed
- ESPmode=simreal
  - simulated hardware with normal output
- ESPmode=simdebug
  - simulated hardware with copious output

---
Simulated Time Operating Modes
- ESPmode=simfast
  - accelerated time, normal output
- ESPmode=simfaster
  - simfast for “long” mission mode
- ESPmode=simfastdebug
  - simfast with copious output
- ESPmode=quick
  - simfast with less than usual output
  - best for simulating missions before deployment
- ESPmode=quicker
  - quick mode for “long” missions
- ESPmode=simrapid
  - special mode for 3G ESP
  - accelerate sampling simulation

---
More About Operating Modes
- All modes are defined as Ruby files in the mode subdirectory
  - One may easily create their own custom modes.
  - Mode definition files are named:
    - $ESPhome/mode/mode_name.rb

---
Required
ESP Environment Variables
- ESPmode=real #operating mode
- ESPhome=/home/esp/esp2 #top dir of ESP app
- ESPpath=/home/esp/esp2/mission:.
  #where to search for ESP mission scripts
- ESPconfigPath=	#path to config files
- ESPlog=/var/log/esp #where to write files
- ESPname=bruce	#name of ESP machine
- RUBYLIB=/home/esp/esp2/lib:/home/esp/esp2/utils
- PATH=...:/opt/mbari/bin:$ESPhome/bin

---
ESPenv script
- Sets required ESP environment variables
  - Must be ‘sourced’ [e.g. run with dot, as “. ESPenv”]
  - because it modifies the current shell’s environment!
  - Run automatically on login as part of shell startup
- All script’s parameters are optional
  # 1st parameter is the platform type (eg. [shallow], 1km)
  # 2nd parameter is unit name (eg. gigi, neo, etc.) = ESPname
  # The default for name derived from the system's hostname
  # 3rd parameter is the ESPhome directory [~/esp2] = ESPhome
  # 4th parameter is ESPpath
  # defaults to [$ESPhome/mission:.]
  # 5th parameter is ESPconfigPath
  # defaults to
  #[$ESPhome/type/$type/$unitName:$ESPhome/type/$type:$ESPhome/type:$ESPhome/admin]

---
Optional
ESP Environment Variables
- TZ=US/Pacific	#overrides time zone
- ESPcheckpoints=0 #disables Thread.resume
- ESPcmdPort=9999	#listen on TCP espclient port
- ESPclient=host:8888	#connect to host on port
- ESPaxisPort=3333 #listen on axis display port
- ESPforget=true	#do not restore puck state
- ESPmodules=/home/esp/esp2/lib/analytic
  #path to drivers for analytical modules

---
Why Simulate?
- Simulate missions before deployment to catch
  - Syntax errors
  - Missing, wrong, or extra parameters
  - Configuration errors
    - Trying to pull a reagent that is not configured/defined
    - Insufficient volumes of reagent(s)
    - Waste container overflow
  - Scheduling errors
    - Not leaving enough time between mission phases
    - Scheduling recovery before last phase completes
- Simulate adaptive sampling triggers
  - With recorded or generated CTD data
  - Observe when sampling occurs
    - Adjust trigger conditions as needed
- Run simulations on ESP itself, or on a Linux desktop/laptop

---
Setting up to Simulate
- Real ESP’s automatically configure their env vars
  - Laptops and Desktops simulating ESPs do not
- Must set required env vars before simulating
  - or using ‘dumplog’ to display the binary log
- Typically all that is needed to simulate 2G ESPs is:
  $ . ESPenv shallow ESPname
  - where ESPname = name of the ESP to simulate
  - example of setting up to simulate ESPchris:
    . ESPenv shallow chris
    ESPmode=simfast #for simulated time

---
Simulated Time
- starts at 1/1/1970 UTC [i.e. the Unix Epoch]
- does not advance when idle
- advances instantly to any future time
  -> delayUntil Time.now #advances to now
- is restored when ESPserver restarts
- cannot reverse
  - to reset time to 1/1/1970, use:
    $ forgetESPstate	#before starting esp
- -> delay 600 #advances 10min instantly
- -> sleep 600 #takes 10min, does not advance
  - (do not use sleep)

---
Time.now vs Thread.time
- Time.now = the current clock-on-the-wall time
- Thread.time = when all threads were last idle
  - In real-time modes
    - Thread.time always slightly before Time.now
    - Thread.time advances when ESP idle
  - In simulated time modes
    - Thread.time has no relation to Time.now
    - Thread.time advances only when ESP delays

---
Multithreading and Thread.time
- Computation delays do not advance Thread.time
- All threads must advance Thread.time in lock step
  - Thread.time advances only when all threads are idle
  - otherwise, it will be inconsistent between them
- These rules are required to ensure that:
  - processor speed does not impact results
  - simulated time results are the same as real-time
- However, threads can “unsync” from Thread.time
  - to allow it to advance while they remain “busy”
  - Useful for I/O
    - and simulating with multiple espclients

---
Testing ESP Operating Mode
- ESP::Mode = current operating mode ($ESPmode)
- ESP::Home = ESP install directory ($ESPhome)
- ESP::ConfigPath = configuration directories ($ESPconfig)
- ESP::LogDir = log directory ($ESPlog)
- ESP::LogFn = file path to binary log
- ESP::MinVoltage = minimum operating voltage
- ESP.simulation?	true if this is a simulation
- Thread.realtime?	true ESP running in real-time

---
Simulation Procedure
- ESPmode must be set before starting the ESP software
- Change the mode for all subsequent runs with:
  ESPmode=newMode
- Restore normal mode for all subsequent runs with:
  ESPmode=real
- Change mode w/o affecting subsequent runs with:
  ESPmode=newMode esp mission
    - Omit mission to simulate interactively
- Most typical simulation command:
  ESPmode=quick esp myNewMission

---
Simulation Features and Limits
- Protocols are simulated in full detail
  - Every movement of the physical hardware is simulated
  - Every I2C message is simulated down to the byte level
  - Puck handling assumes that there are no stack height errors
  - Will not detect mechanical interference between axes
    - E.g. attempts to move the carousel with the Elevator up will succeed in sim
    - But, attempts to move the Elevator past its physical limits will fail in sim
  - One should test new protocols by simulating them first, before wasting reagents.
- Does simulate CTD
  - But not ISUS
- Tracks consumption of Time
  - Does not simulate energy consumption
  - Will track fluid and reagent use on 2G ESP
    - if script begins with: require ‘fluid’
- Simulation of whole missions is CPU intensive
  - Allow 90 minutes to simulate a full mission on the slow ESP processor
  - The same sim would take < 30 seconds on a fast server.
  - Figure on it taking 90 seconds for the typical laptop

---
Declaring Puck Stack Heights
- Puck stack height cannot be measured in simulation
  - Puck load must be prescribed in simulations
- Every new mission should define the number of pucks expected to be loaded in each tube!
  - Optional in “real” mode, but...
    - Isn't it better to fail early, if puck load is wrong?
- Excerpt of mission with 6 pucks in tubes 2, 3 and 4:
  pucks 2=>6, 3=>6, 4=>6 # see next slides
  mission startTube: 2, until: “9AM 4/10/15” do
    <mission phases>
  end
- Fails immediately if tube 2 did not start with exactly six pucks

---
Declaring Puck Stack Heights
- Commands to set and query the expected stack height:
  - clear! tubeList=1..7
    - Clears each specified tube's stack height
  - fill! numPucks=22, tubeList=2..6
    - Puts the specified number of pucks in each listed tube
  - pucks tubeHash={}
    - Puts the specified number of pucks in specified tubes: eg. pucks 3=>14, 7=>8
    - If tubeHash omitted, just displays the # of pucks in each tube

---
Stack Height Setting Examples
-> fill! if ESP.simulation?
  - Fills all tubes except #1 (for typical fully loaded carousel mission)
  - But, only if running as a simulation
-> fill!; clear! 2, 4..7
  - Ends up with tube 3 containing 22 pucks, others empty
-> fill! 9
  - Fills all tubes except #1 with 9 pucks (empties others)
-> fill! 9, 1, 3..5, 7
  - Fills tube 1, 3, 4, 5 and 7 with 9 pucks (empties others)
-> pucks 2=>22, 6=>18
  - Fills tube #2 with 22 pucks, tube #6 with only 18
-> pucks
  - Changes nothing
  - Just returns the hash of pucks in tubes.

---
Running Multiple ESPservers
- At most one ESP server may be run
  - in any mode that accesses real actuators
    Errno::EBUSY in MAIN -- Device or resource busy - /dev/I2Cgate -- Missing core Gateway!
  - in the same simulation ESPmode
    Log::Locked in trapHandler -- Another process is already writing to logFile
- One may run a simulation along side another in different ESPmode.
  - or while the ESP is running in ESPmode=real